## Modeling Scenarios
The four-modeling scenarios and various situations which may apply to States/Sources:
Emissions of identified species of concern in tons per year (NOX/SOX/PM10)
Facility | 2014 Base case | 2013-2017 Representative | 2028 OTB/OTW | 2028 Future Controls Case | Notes on the Situation: | High Level summary
1 | 10000 | 10000 | 10000 | 1000 | No additional controls have been required and '28 operations are expected to look like current operations w/out OTB/OTW controls | Nothing additional has been done and nothing is planned until '28 future
2 | 10000 | 6000 | 6000 | 600 | '14 emissions had no additional controls. Controls were installed post-'14 and '28 operations are expected to look like Current operations | Controls in place per RH1 (or other regs), nothing else planned until '28 future
3 | 10000 | 6000 | 3000 | 300 | '14 emissions had no additional controls. Controls were installed post-'14. '28 operations are expected to be less based on 'XYZ' | Controls in place per RH1, more coming pre-28, also planned for '28 future
4 | 10000 | 10000 | 6000 | 600 | '14 emissions and '13-'17 Representative emissions are the same. On or before '28, OTB/OTW controls are to be installed | Nothing additional has been done, but planned pre-'28, and planned for '28 future
5 | 10000 | 6000 | 10000 | 1000 | Controls were installed post-'14 (reason for change from '14 to '13-'17). '28 operations are expected to increase based on 'XYZ' (this is why '28 Baseline 'increased') | Controls in place per RH1, operations expected to increase by '28, controls planned for '28 future
6 | 6000 | 10000 | (see 2, 3, 5) |  | '14 year may have been atypical (e.g. outage), reason emissions are lower than '13-'17 Representative. Future forecasts are covered in 2,3,5 | '14 was not normal year. Future situations from Current Baseline already covered
2014 Base Case v1 to v2 | 3 significant changes
- adjustment of most/all California data
- intermountain State(s) adjustments of O&G source emissions. 2014 EI data contradicts new data coming from survey of sources (we got better information)
- model boundary conditions changes (international anthropogenic emissions vs international natural emissions)
Objective:
Refine/adjust model results to reflect IMPROVE monitor data. The 2014 v2 changes are important so the model can more accurately reflects the emissions history
2013-2017 Representative Baseline (can be thought of as "Current baseline")
- reflective of current emission rates and "normal" operations
- many changes for the Coal EGU fleet since 2014 data (e.g. RH1 controls, MATS rule, BMACT rule, new PTC requirements, State Rules/Plans)
- Current Baseline will be equal to the 2014 Base Case if no controls were installed and the 2014 emissions data and operations are similar to current
- Wildfire data for '13-17 will be replaced with a "representative" fire year to smooth out uncertainty as best we can
Objective:
Accurately reflect the current emissions profile for each source potentially impacting CIA visibility [source(s) identified from Q/d analysis]
2028 OTB/OTW (can be thought of as "Expected 2028 Baseline")
Main consideration: | - how does 2028 look compared to Current Baseline, taking into consideration expected/planned future operational rates (capacity factor)
- take into consideration any planned fuel or fuel quality changes since "Current Baseline"
Defensibility: | - important to review and have legitimate information which supports information provided. Should be 'agreed upon' between Source/State
- do not include evaluation additional controls outside of the already OTW/OTB (since these are already planned)
- this is the number sources should start from, "Expected 2028 Baseline", when evaluating the feasibility of control technologies selected for 4F analysis
- 2028 Expected Baseline may be the same as the Representative Baseline (see Facility 1 and 2)
Objective:
Accurately determine the Expected 2028 Baseline Emissions for which the 4F analysis use as baseline emission to determine control feasibility
2028 Future Controls Case
- starting from "Expected 2028 Baseline", evaluation of reasonable controls which can be installed to reduce emissions
- reasonable controls must be both technically and economically feasible
- economical feasibility will depend on state needs and attainment status (ND is currently assuming $4500/ton is reasonable)
Objectives:
Accurately determine the post-2028 Emissions after implementation of controls determined reasonable through 4F analysis
Model how this looks in relations to the regional haze reasonable progress goals and meeting the URP on the glidepath
For non-Coal EGUs: It is important for States to identify the emissions sources/emissions points which the facility needs to perform the 4F analysis on.